## Sheet1
CHC Safety Issue Tracking Log
Date: | 2014-02-04
Item # | Safety Issue/Concern Description | Date Reported | Safety Committee Review Date | Mitigation/Comments | Date Resolved
1 | OE1 restroom cleanliness - blood in sinks and alleged art equipment and paint is being washed down the sinks. | 2014-01-10 | 2014-01-13 | The Director of Facilities and Maintenance, Larry Cook has reported that as of 1/10/14, Jeremy Crooks the Custodial Supervisor has made adjustments to the cleaning levels in this area. Custodial will continue to monitor this area and provide the level of service ensure that the above concern is not reoccurring. The reporting person was informed that blood should be reported to custodial immediately. | 2014-01-10
2 | LADM paper towel dispenser is broken in a way that may cause injury to someone. | 2014-01-10 | 2014-01-13 | A work order was created and custodial replaced the dispenser. | 2014-01-11
3 | EMS SOP Pharm Donations | 2013-04-01 | ongoing | SOP's were drafted and implemented in Aug 2013; issues of questionable legality continued; Nov. 2013 Citadel Environmental was contracted to investigate and provide a report; 12/17/13 interviews with the EMS dept were conducted by Citadel; final report received 2/3/14.
4 | MSDS Online Database | Check minutes |  | August 2013 - Keenan will be conducting HMI in the fall and MSDS will require update once the revised HMI is received.
5 | The Beast - Autoclave | Check minutes |  | Cart will be procured
6 | CHS 233 - HMI Inspection ID'd shelf wire/earthquake protection broken | 2014-01-08 | 2014-01-13 | Work order was created and M&O repaired the wire. | 2014-01-11
7 | PAC Generator
8 | Fume Hood Prep Room LADM 227
9 | Pedestrians crossing at 4-way stop between Lot M and Lot A | 2014-02-14 |  | Issue raised by Police
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25