## Calendar
Deadline | Frequency | Last Completed | Task

## Safety Tasks
SBCCD Compliance Calendar - Safety Tasks
Frequency | Deadline | Category | Safety Program Title | Description | Responsible Party | Account Information | Regulation | Notes
Semiannual |  | Testing | AC Unit Refrigerant Recovery Equipment Leak Test |  | Director of Facilities (CHC - Demian; SBVC - Sergio) |  |  | Same as Rule 1415 Inspection?
Annual |  | Exposure Monitoring | Audiometric/Hearing Conservation Testing |  | HR |  | Cal/OSHA Title 8, 5097 | Specific to position/job description
Monitoring Requirements : 40 CFR 141.854 |  | Inspection | Backflow Monitoring & Certification | To evaluate the potential for backflow into the PWS, each community water system must conduct an initial hazard assessment of the user premises within its service area and each noncommunity water system must conduct an initial hazard assessment of its water distribution system. | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | CWB Cross-Connection Control Policy, 3.2.1
Semiannual |  | Permit | CDFTA Generation and Handling Fee |  | Site Safety Officer |  |  | Half due in November, full payment due February
Annual |  | Inspection | Central Plant Monitoring |  | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | SB County LAMP Onsite Water Treatment Systems | CHC coordinated through City of Redlands, SBVC coordinated through city of SB
Annual |  | Inspection | Chemistry Fume Hoods Inspection & Certification |  | Site Safety Officer |  | Cal/OSHA Title 8, 5143 | Craftons Completed in November
Annual | 2025-04-01 | Regulatory Reporting | CIWQS Annual Report | The Enrollee shall submit an Annual Report (previously termed as Collection System Questionnaire in Order 2006-0003-DWQ) as specified in section 3.9 (Annual Report) of Attachment E1 (Notification, Monitoring, Reporting and Recordkeeping Requirements) of this General Order. | Site Safety Officer |  | CWB Water Quality Order No. 2022-0103-DWQ, 3.9
Annual |  | Inspection | Clay Interceptors Inspection
|  | Inspection | Clay Pit/Art Department | *Respirable Silicas -- including glassblowing | SBVC |  | Cal/OSHA Title 8, 1532.3
|  | Inspection | Compressed Air Vessels Inspection (?) |  |  |  |  | covered in HazMat inspections?
Annual |  | Regulatory Reporting | CUPA Submittals (Inventory, HMBP, Facility Information, Aboveground Petroleum Storage Act) |  | Site Safety Officer |  | HSC Div 20, Ch 6.95, Article 1
Annual | 2025-03-30 | Regulatory Reporting | DTSC eVQ Verification Questionnaire & Manifest Fee Assessment |  | Site Safety Officer |  |  | Completed in March
Annual |  | Inspection | Elevator & Wheelchair Lift Inspection | (a) Except as provided in subdivision (b), the division shall cause all conveyances to be inspected at least once each year. If a conveyance is found upon inspection to be in a safe condition for operation, a permit for operation for not longer than one year shall be issued by the division. (b) If a conveyance is subject to a full maintenance service contract, the division may, after investigation and inspection, issue a permit for operation for not longer than two years. |  |  | Labor Code Div 5(3), Ch 3, 7304
Monthly |  | Inspection | Emergency Eyewash & Shower Inspection | (e) Maintenance. Plumbed eyewash and shower equipment shall be activated at least monthly to flush the line and to verify proper operation. Other units shall be maintained in accordance with the manufacturer's instructions. | Site Safety Officer |  | Cal/OSHA Title 8, 5162 | Maintenance required per manufacturer's instruction.
Annual | April? | Regulatory Reporting | Emissions Report (AER)(& Fees?) |  | Risk Management / VPs of Admin Services |  | SCAQMD Rule 301 | Letter sent in November to alert you if you need to submit in April
Semiannual |  | Inspection | Fat, Oils, and Grease (FOG) Interceptors Inspections |  | Director of Facilities (SBVC Only - Sergio)
Semiannual |  | Inspection | Fire Alarm & Emergency Lighting System Inspection | (d) Maintenance and Testing. (1) The employer shall assure that all employee alarm systems are maintained in operating condition except when undergoing repairs or maintenance. (2) The employer shall assure that a test of the reliability and adequacy of non-supervised employee alarm systems is made every two months. A different actuation device shall be used in each test of a multi-actuation device system so that no individual device is used for two consecutive tests. (3) The employer shall maintain or replace power supplies as often as is necessary to assure a fully operational condition. Back-up means of alarm, such as employee runners or telephones, shall be provided when systems are out of service. (4) The employer shall assure that employee alarm circuitry installed after July 1, 1981, shall be supervised and provide positive notification to assigned personnel whenever a deficiency exists in the system. The employer shall assure that all supervised employee alarm systems are tested at least annually for reliability and adequacy. (5) The employer shall assure that servicing, maintenance and testing of employee alarms are performed by persons trained in the designed operation and functions necessary for reliable and safe operations of the system. | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | Cal/OSHA Title 8, 6184
Annual |  | Inspection | First Aid Kit Inspection | (c) There shall be adequate first-aid materials, approved by the consulting physician, readily available for employees on every job. Such materials shall be kept in a sanitary and usable condition. A frequent inspection shall be made of all first-aid materials, which shall be replenished as necessary. | Site Safety Officer |  | Cal/OSHA Title 8, 3400
Annual |  | Inspection | Fixed Fire Sprinkler System Inspection | (6) The employer shall assure that fixed systems are inspected annually by a person knowledgeable in the design and function of the system to assure that the system is maintained in good operating condition. | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | Cal/OSHA Title 8, 6175(b)(6)
6 Months/1 Year/N/A |  | Exposure Monitoring | Formaldehyde/Phenol Monitoring |  | SBVC/CHC |  | CFR Title 29, 1910.1048 | 1910.1048(d)(1)(ii) Exception. Where the employer documents, using objective data, that the presence of formaldehyde or formaldehyde-releasing products in the workplace cannot result in airborne concentrations of formaldehyde that would cause any employee to be exposed at or above the action level or the STEL under foreseeable conditions of use, the employer will not be required to measure employee exposure to formaldehyde.
Annual |  | HazWaste | Hazardous Materials Inventory |  | Site Safety Officer |  | Cal/OSHA Title 8, 337 | Keenan Completed in January
After Emergency Event |  | Inspection | Hazardous Materials Storage Secondary Containment Inspection | (a) Substances which, when mixed, react violently, or evolve toxic vapors or gases, or which in combination become hazardous by reason of toxicity, oxidizing power, flammability, explosibility, or other properties, shall be evaluated for compatibility before storing. Incompatible substances shall be separated from each other in storage by distance, or by partitions, dikes, berms, secondary containment or otherwise, so as to preclude accidental contact between them. (Note: Some typical examples of such incompatible substances are: Mineral acids and oxidizing agents; mineral acids and cyanides; oxidizing agents and combustible materials; acids and alkalis.) (b) Hazardous substances shall be stored in containers, such as those approved by the U.S. Department of Transportation (DOT), which are chemically inert to and appropriate for the type and quantity of the hazardous substance. (c) Containers of hazardous substances shall not be stored in such locations or manner as to result in physical damage to, or deterioration of, the container. Containers shall not be stored where they are exposed to heat sufficient to rupture the containers or to cause leakage. (d) Containers used to package a substance which gives off toxic, poisonous, corrosive, asphyxiant, suffocant, or anesthetic fumes, gases, or vapors in hazardous amounts (e.g., fuming sulfuric acid, hydrofluoric acid, nitrous oxide, chlorine, or other compressed or liquefied toxic gases) shall not be stored locations where it could be reasonably anticipated that employees would be exposed. This requirement shall not apply to small quantities of such materials kept in closed containers, or to tank cars or trucks. | Site Safety Officer |  | Cal/OSHA Title 8, 5164
Monthly |  | Regulatory Reporting | Hazardous Waste Manifest to DTSC |  | Site Safety Officer
Weekly |  | Inspection | Hazardous Waste Storage Areas Inspection | (E) Effectiveness of site safety and health plan: Inspections shall be conducted by the site safety and health supervisor or, in the absence of that individual, another individual who is knowledgeable in occupational safety and health, acting on behalf of the employer as necessary to determine the effectiveness of the site safety and health plan. Any deficiencies in the effectiveness of the site safety and health plan shall be corrected by the employer. | Site Safety Officer |  | Cal/OSHA Title 8, 5192(b)(4)(E) | Lab techs to complete weekly form, periodically checked by Safety
Annual |  | Inspection | Heating Boilers Inspection | Flue gas analysis, burners | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | SCAQMD
Annual/As Needed |  | Exposure Monitoring | Medical Exposure Monitoring for Employees | (3) Frequency of medical examinations and consultations: Medical examinations and consultations shall also be made available by the employer to each employee covered under subsection (f)(2) on the following schedules: (A) For employees covered under subsections (f)(2)(A), (f)(2)(B), and (f)(2)(D): 1. Prior to assignment. 2. At least once every twelve months for each employee covered, unless the attending physician believes a longer interval (not greater than biennially) is appropriate. 3. At termination of employment or reassignment to an area where the employee would not be covered if the employee has not had an examination within the last six months. 4. As soon as possible, upon notification by an employee either that the employee has developed signs or symptoms indicating possible overexposure to hazardous substances or health hazards or that the employee has been injured or exposed above the PELs or published exposure levels in an emergency situation. 5. At more frequent times, if the examining physician determines that an increased frequency of examination is medically necessary. (B) For employees covered under subsection(f)(2)(C) and for all employees including those of employers covered by subsection (a)(1)(E) who may have been injured, received a health impairment, developed signs or symptoms which may have resulted from exposure to hazardous substances resulting from an emergency incident, or exposed during an emergency incident to hazardous substances at concentrations above the PELs or the published exposure levels without the necessary personal protective equipment being used: 1. As soon as possible following the emergency incident or development of signs or symptoms; 2. At additional times, if the examining physician determines that follow-up examinations or consultations are medically necessary. (4) Content of medical examinations and consultations. (A) Medical examinations required by subsection (f)(2) of this section shall include a medical and work history (or updated history if one is in the employee's file) with special emphasis on symptoms related to the handling of hazardous substances and health hazards, and to fitness for duty including the ability to wear any required PPE under conditions (e.g., temperature extremes) that may be expected at the work site. (B) The content of medical examinations or consultations made available to employees pursuant to subsection (f) shall be determined by the examining physician. The guidelines in the Occupational Safety and Health Guidance Manual for Hazardous Waste Site Activities (see Appendix D, Reference #10) should be consulted. (5) Examination by a physician and costs: All medical examinations and procedures shall be performed by or under the supervision of a licensed physician, preferably one knowledgeable in occupational medicine, and shall be provided without cost to the employee, without loss of pay, and at a reasonable time and place. (6) Information provided to the physician: The employer shall provide one copy of this standard and its appendices to the attending physician, and in addition, the following for each employee: (A) A description of each employee's duties as they relate to the employee's exposures. (B) Each employee's exposure levels or anticipated exposure levels. (C) A description of any PPE used or to be used by each employee. (D) Information from previous medical examinations of each employee which is not readily available to the examining physician. (E) Information required by 8 CCR 5144 for each employee. (7) Physician's written opinion. (A) The employer shall obtain and furnish the employee with a copy of a written opinion from the examining physician containing the following: 1. The physician's opinion as to whether the employee has any detected medical conditions which would place the employee at increased risk of material impairment of the employee's health from work in hazardous waste operations or emergency response, or from respirator use. 2. The physician's recommended limitations upon the employee's assigned work. 3. A statement that the employee has been informed by the physician of the results of the medical examination and any medical conditions which require further examination or treatment. (B) The written opinion obtained by the employer shall not reveal specific findings or diagnoses unrelated to occupational exposures. (C) The physician shall provide the results of the medical examination and tests to the employee if requested. |  |  | Cal/OSHA Title 8, 5192(f) | specific to position/job description
Annual |  | Regulatory Reporting | NFPA & CERS HazMat Business Plan Certification |  | Site Safety Officer |  | HSC Div 20, Ch 6.95, Article 1 | HSC Every 3 years; Annually per SB County; CUPA accepted submission on 3/30/23 (SBVC) and 5/3/23 (CHC) -- Includes business plan, inventory, facility information, APSA (aboveground petroleum storage act…), NFPA (CERS tank signage)
Annual | January | Regulatory Reporting | OSHA 300 Form Submission | If your company had more than ten (10) employees at any time during the last calendar year, you must keep OSHA injury and illness records unless your establishment is classified as a partially exempt industry under § 1904.2. | Worker's Comp HR Director (Tiffany) |  | CFR Title 29, 1904 | EXEMPT FROM POSTING: https://www.dir.ca.gov/t8/14300_2.html -- must still report injuries
As Needed |  | Regulatory Reporting | OSHA 5020 Form Submission | California law requires employers to report within five days of knowledge every occupational injury or illness which results in lost time beyond the date of the incident OR requires medical treatment beyond first aid. If an employee subsequently dies as a result of a previously reported injury or illness, the employer must file within five days of knowledge an amended report indicating death. In addition, every serious injury, illness, or death must be reported immediately by telephone or telegraph to the nearest office of the California Division of Occupational Safety and Health. | Risk Management |  | CFR Title 8, 14005
Monthly |  | Inspection | Portable Fire Extinguisher Inspection | (4) Portable fire extinguishers shall be inspected monthly, or at more frequent intervals, and serviced at least annually by a person licensed or registered by the State Fire Marshal as required by the Health and Safety Code, Division 12, Part 2, Chapter 1.5, Articles 2, 3, and 6. NOTE: Inspection is a "quick check" that an extinguisher is available and will operate. It is intended to give reasonable assurance that the extinguisher is fully charged and operable. This is done by seeing that it is in its designated place, that it has not been actuated or tampered with, and that there is no obvious or physical damage or condition to prevent operation. NOTE: Service as defined in the State Fire Marshal's regulations pertains to the act of charging, recharging, inspecting, repairing, and hydrostatic testing of any portable fire extinguisher. | Site Safety Officer (In lead custodian job description) |  | Cal/OSHA Title 8, 1922(a)(4)
Annual |  | Regulatory Reporting | Recycled Water Annual Report | 3.2. Annual reporting requirements. The State Water Board will evaluate progress toward these goals and revise the goals as necessary. To support this evaluation, the Executive Director will issue an order consistent with Water Code section 13267 and Water Code section 13383 to require wastewater treatment plants and recycled water producers to annually report the information listed in this section. The Executive Director may modify the reporting requirements of this section, as needed, to effectively evaluate progress toward the goals. All volumetric data shall be reported on an annual basis as acre-feet (af) to a database identified by the State Water Board. | YVWD |  | CWB Water Quality Control Policy for Recycled Water, 3.2
Annual |  | Inspection | Recycled Water Site Inspection |  | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | CWB Water Quality Control Policy for Recycled Water
Annual |  | Exposure Monitoring | Respirator Fit Testing (Ongoing) | This subsection requires that, before an employee may be required to use any respirator with a negative or positive pressure tight-fitting facepiece, the employee must be fit tested with the same make, model, style, and size of respirator that will be used. This subsection specifies the kinds of fit tests allowed, the procedures for conducting them, and how the results of the fit tests must be used. Prior to fit testing, employees must be medically cleared to use a respirator. Employee medical clearances are valid for 2 years. |  |  | Cal/OSHA Title 8, 5144(f) | Specific to position/job description
Semiannual |  | Inspection | Restaurant Fire Supression System Inspection |  | Director of Facilities (CHC - Demian; SBVC - Sergio) |  |  | Look into NFPA 96, Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations
Monthly |  | Regulatory Reporting | Rule 1411/1415 Refrigerant Recharge Quantity Data Collection |  | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | SCAQMD Rule 1411
Weekly |  | Regulatory Reporting | Rule 1411/1415 Refrigerant Recharge Quantity Repair Log |  | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | SCAQMD Rule 1411
Annual |  | Regulatory Reporting | Rule 1415 Air Conditioning System Audit | The owner or operator shall conduct an audit of the air conditioning system no later than one year after beginning operation, and every year thereafter, to determine whether such system is operating pursuant to manufacturer's specifications and does not have refrigerant leaks. | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | SCAQMD Rule 1415 | South Coast Air Quality Management District (SCAQMD) -- Reduction of Refrigerant Emmisions from Stationary Air Conditioning Systems; Refer to:
Semiannual |  | Regulatory Reporting | Rule 1415 Air Conditioning System Inspection | Same as "AC System Audit"? | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | SCAQMD Rule 1415
2 years |  | Regulatory Reporting | Rule 1415 Plan Submission & Registration | A Registration Plan for the entire facility is submitted to the Executive Officer at start of operation, and every two years thereafter. | Director of Facilities (CHC - Demian; SBVC - Sergio) |  | SCAQMD Rule 1415 | South Coast Air Quality Management District (SCAQMD) -- Reduction of Refrigerant Emmisions from Stationary Air Conditioning Systems; Refer to: https://www.aqmd.gov/home/rules-compliance/compliance/rule-1415-stationary-air-conditioning-systems for plan and application details
Annual |  | Permit | SCAQMD Permit Fees |  | Site Safety Officer KVCR - Nolby Cayetano |  |  | Same as Rule 1415?
3 years |  | Inspection | Sewer System Audit | The Enrollee shall conduct an internal audit of its Sewer System Management Plan, and implementation of its Plan, at a minimum frequency of once every three years. The audit must be conducted for the period after the end of the Enrollee’s last required audit period. Within six months after the end of the required 3-year audit period, the Legally Responsible Official shall submit an audit report into the online CIWQS Sanitary Sewer System Database per the requirements in section 3.10 (Sewer System Management Plan Audit Reporting Requirements) of Attachment E1 of this General Order. | Site Safety Officer |  | CWB Water Quality Order No. 2022-0103-DWQ, 5.4
Monthly |  | Regulatory Reporting | Spill Prevention Control & Countermeasure (SPCC) Inspection |  |  |  | CFR Title 40, 112.3 | is this real?
Monthly |  | Inspection | Standby Generators Inspection |  | Director of Facilities (CHC - Demian; SBVC - Sergio) |  |  | includes operating hours
Annual |  | Regulatory Reporting | SWPPP Construction Annual Reports
Annual |  | Haz Waste | Universal Waste Battery Bucket Changeout | (c) Generation of waste batteries. (1) A used battery becomes a waste on the date it is discarded (e.g., when sent for reclamation). (2) An unused battery becomes a waste on the date the handler decides to discard it. | Site Safety Officer |  | CFR Title 40, 273.2 | Does not require annual changeout!
Semiannual |  | Haz Waste | Hazardous Waste, BioHazardous Waste, Sharps, and Pharmeceutical Waste Pickup and Removal
Monthly |  | Regulatory Reporting | Volatile Organic Compounds Recordkeeping Data Collection/Entry |  |  |  |  | is this real?
Note on H9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The LAMP only applies to OWTS (Onsite Wastewater Treatment Systems) (Septic)

## Plan & Program Review
SBCCD Compliance Calendar - Plan & Program Review
Frequency | Deadline | Category | Safety Program Title | Description | Responsible Party | Regulation | Notes
Annual/As Needed |  | Safety Plan Review | Aerial Work Platform Safety Program | Maintenance, repairs, and operating instructions included based on platform type. | SBVC/CHC | Cal/OSHA Title 8, 3636-3648 | Though training/retraining is required by the employer, there is no requirement for a written program.
As Needed |  | Safety Plan Review | Asbestos Operations & Maintenance Program |  | EH&S Admin | Cal/OSHA Title 8, 1529(k)
Annual/As Needed |  | Safety Plan Review | Chemical Hygiene Program |  | EH&S Admin | Cal/OSHA Title 8, 5191(e) | Additionally needs review as needed, required when new chemicals are introduced. Includes Formaldehyde, Phenol, and Glutaraldehyde plan/program.
|  | Safety Plan Review | Communicable Disease Safety Plan |  | EH&S Admin |  | Being addressed in IIPP
|  | Safety Plan Review | Confined Space Entry Program | Permit-required confined space program: Review the permit space program, using the canceled permits retained under subsection (e)(6) within 1 year after each entry and revise the program as necessary, to ensure that employees participating in entry operations are protected from permit space hazards. NOTE: Employers may perform a single annual review covering all entries performed during a 12-month period. If no entry is performed during a 12-month period, no review is necessary. | EH&S Admin | Cal/OSHA Title 8, 5157(d)
Annual |  | Safety Plan Review | Exposure Control Program for Bloodborne Pathogens |  | EH&S Admin | Cal/OSHA Title 8, 5193(c) | Confirmed that annual review is required per Cal/OSHA (https://www.dir.ca.gov/title8/5193.html) https://www.dir.ca.gov/dosh/dosh_publications/expplan2.pdf
As Needed |  | Safety Plan Review | Fall Protection Safety Program |  | EH&S Admin | Cal/OSHA Title 8, 1671.1 | https://www.dir.ca.gov/oshsb/documents/Fall-Protection-in-Residential-Construction-apprvdtxt.pdf
As Needed |  | Safety Plan Review | Fire Prevention Program |  | EH&S Admin | Cal/OSHA Title 8, 3221 | Also consider: California Code of Regulations, Title 8, Section 6175. Fixed Extinguishing Systems. (https://www.dir.ca.gov/title8/6175.html)
Annual/As Needed |  | Safety Plan Review | Forklift/Powered Industrial Truck Safety Program |  | SBVC/CHC | Cal/OSHA Title 8, 3668 | Though training/retraining is required by the employer, there is no requirement for a written program.
|  | Safety Plan Review | Formaldehyde & Phenol Program |  | EH&S Admin |  | Being addressed in Chemical Hygiene Plan
|  | Safety Plan Review | Formaldehyde, Phenol & Glutaraldehyde Program |  | EH&S Admin |  | Being addressed in Chemical Hygiene Plan
Annual/As Needed |  | Safety Plan Review | Hazardous Communication Program |  | EH&S Admin | Cal/OSHA Title 8, 5194(e) | https://www.dir.ca.gov/dosh/dosh_publications/hazcom.pdf
Annual |  | Safety Plan Review | Hazardous Materials (CUPA) Business Plan |  | EH&S Admin | HSC Div 20, Ch 6.95, Article 1 | HSC Every 3 years; Annually per SB County; CUPA accepted submission on 3/30/23 (SBVC) and 5/3/23 (CHC) -- same as NFPA & CERS HazMat Business Plan Certification?
Annual/As Needed |  | Safety Plan Review | Hazardous Waste Management Program |  | EH&S Admin | Cal/OSHA Title 8, 5192(b) | Shall include site-specific plans beyond that of the employer's standard operating procedures.
As Needed |  | Safety Plan Review | Hearing Conservation Program |  | EH&S Admin | Cal/OSHA Title 8, 5097 | (10) At least annually after obtaining the baseline audiogram, the employer shall obtain a new audiogram for each employee exposed at or above the action level.
Annual/As Needed | 2025-05-01 | Safety Plan Review | Heat Illness Prevention Program |  | EH&S Admin | Cal/OSHA Title 8, 3395(i); Cal/OSHA Title 8, 3396(i) | Both indoor and outdoor
As Needed |  | Safety Plan Review | Injury & Illness Prevention Program |  | EH&S Admin | Cal/OSHA Title 8, 3203 | Includes Communicable Disease (refer to: https://www.dir.ca.gov/title8/5199.html); *Previous calendar suggests annual
Annual |  | Safety Plan Review | Lock-Out/Tag-Out Program (Control of Hazardous Energy) |  | EH&S Admin | Cal/OSHA Title 8, 3314(j) | Controlling Hazardous Energies, Including Lockout/Tagout
As Needed |  | Safety Plan Review | Medical Waste Management Plan |  | EH&S Admin | HSC Div 104(14), Ch 2, 117710 | Can be combined with Hazardous Waste? Refer to Medical Waste Management Act: https://www.cdph.ca.gov/Programs/CEH/DRSEM/CDPH%20Document%20Library/EMB/MedicalWaste/MedicalWasteManagementAct01292025.pdf
As Needed |  | Safety Plan Review | Respiratory Protection Program | This subsection requires the employer to develop and implement a written respiratory protection program with required worksite-specific procedures and elements for required respirator use. The program must be administered by a suitably trained program administrator. In addition, certain program elements may be required for voluntary use to prevent potential hazards associated with the use of the respirator. | EH&S Admin | Cal/OSHA Title 8, 5144(c) | (I) Procedures for regularly evaluating the effectiveness of the program. *Previous calendar suggests annual
2 years |  | Safety Plan Review | Rule 1415 Plan - Campus Refrigerant Emissions | A Registration Plan for the entire facility is submitted to the Executive Officer at start of operation, and every two years thereafter. | EH&S Admin | SCAQMD Rule 1415 | South Coast Air Quality Management District (SCAQMD) -- Reduction of Refrigerant Emmisions from Stationary Air Conditioning Systems; Refer to: https://www.aqmd.gov/home/rules-compliance/compliance/rule-1415-stationary-air-conditioning-systems for plan and application details
6 years |  | Safety Plan Review | Sewer Management Plan | Within every six (6) years after the required due date of its last Plan Update, the Legally Responsible Official shall upload and certify a local governing entity-approved Sewer System Management Plan Update to the online CIWQS Sanitary Sewer System Database. If the electronic document format or size capacity prevents the electronic upload of the Plan, the Legally Responsible Official shall report an electronic link to its updated Sewer System Management Plan posted on its own website. | EH&S Admin | CWB Water Quality Order No. 2022-0103-DWQ, 3.11
As Needed |  | Safety Plan Review | Spill Prevention Control & Countermeasure (SPCC) Plan |  | EH&S Admin | CFR Title 40, 112.3 | Also consider 112.12 requirements: https://www.ecfr.gov/current/title-40/chapter-I/subchapter-D/part-112/subpart-C/section-112.12
|  | Safety Plan Review | Storm Water Pollution Prevention Plan |  | EH&S Admin |  | Can be addressed/combined with Spill Prevention (refer to pg 6/11pdf: https://www.epa.gov/sites/default/files/2021-03/documents/swppp_guide_industrial_2021_030121.pdf)
As Needed |  | Safety Plan Review | Utility Cart Safety Program |  | SBVC/CHC | SBCCD AP 7420: Authorized Drivers | APBP Authorized Drivers -- rename?
Annual |  | Safety Plan Review | Workplace Violence Prevention Plan |  | EH&S Admin | SB 533, Ch 289
|  | Safety Plan Review |  |  |  | ANSI/ASSP Z9.2-2018: Fundamentals Governing the Design and Operation of Local Exhaust Ventilation (LEV) Systems | This American National Standard sets the minimum guidelines for the commissioning, design, construction, and installation of fixed industrial LEV systems used to reduce and prevent employee exposure to harmful airborne substances in the industrial environment. Local exhaust ventilation (LEV), in serving a crucial engineering control technique for maintaining acceptable air quality in the industrial work environment, generally make use of five main elements—hood, ducting, air cleaner, air mover, and discharge. ANSI/ASSP Z9.2-2018 details specifications for these parts, as well as guidelines for the management, operation, maintenance, and testing of LEV systems to assure satisfactory performance throughout their lifespans
|  | Safety Plan Review |  |  |  | Cal/OSHA, Title 8, 5143: General Requirements of Mechanical Ventilation Systems | (a) Design and Operation. The construction, installation, inspection, testing, and maintenance of exhaust systems shall conform to all requirements of Article 107. Additional guidance may be obtained from the American National Standard Fundamentals Governing the Design and Operation of Local Exhaust Systems, ANSI Z9.2-1971 and the Standard for the Installation of Blower and Exhaust Systems, NFPA No. 91-1973

## Emergency
SBCCD Compliance Calendar - Emergency
Frequency | Deadline | Category | Safety Program Title | Description | Responsible Party | Regulation | Notes
Annual | October | Emergency Prep | Great ShakeOut | Occurs the third Thursday of October, at the corresponding morning hour of the date (e.g., October 16th or 10/16 at 10:16am) | EH&S Admin | Great ShakeOut Manual | Great ShakeOut Earthquake Drills - ShakeOut Healthcare Resources
Annual | April | Emergency Prep | Fire Drill |  | EH&S Admin
Annual | April | Emergency Prep | Active Shooter Drill |  | EH&S Admin
Annual |  | Emergency Prep | Emergency Operations Plan |  | EH&S Admin | Cal/OSHA Title 8, 3220
|  | Emergency Prep | Emergency Water Supply |  | VP Administrative Services
|  | Emergency Prep | Emergency Food Supply |  | VP Administrative Services
|  | Emergency Prep | Emergency Blankets |  | VP Administrative Services

## Misc. Reminders
SBCCD Compliance Calendar - Training Programs
Frequency | Deadline | Category | Training Program Title | Description | Department/Campus | Regulation | Notes
|  | Training | Aerial Work Platform Training | Certification valid for 3 years
|  | Training | Forklift/Powered Industrial Truck Training | Certification valid for 3 years
|  | Training | Utility Cart Training |  | SBVC/CHC |  | APBP Authorized Drivers -- rename?
|  | Training | First Aid & CPR | Required initially and every 2 years for assigned employees
|  | Training | HAZWOPER Training | External training, requires annual refresher
Annual |  | Training | SPCC Training
|  | Training | Narcan | Not required, offer refresher 2-3 years
|  | Training | Stop the Bleed/Tourniquet | Not required, offer refresher 2-3 years
|  | Training | HazWaste Manifest Signer | Required initially and every 3 years for assigned employees
|  | Training | CERT | Required initially and every 3 years for assigned employees

## Crafton Hills College
Haz Waste
Safety Plan Review
Emergency Prep
Training
[6 empty] | Safety Compliance & Emergency Preparation Calendar | [6 empty] | Permits and Compliance
[6 empty] | Updated: | 2025-10-01 | [5 empty] | Safety Inspection
Exposure Monitoring
|  | Fiscal Year End: | June 30
Line # | Safety Item |  |  | Category | 2025-07-30 | 2025-08-30 | 2025-09-30 | 2025-10-30 | 2025-11-30 | 2025-12-30 | 2026-01-30 | 2026-02-28 | 2026-03-30 | 2026-04-30 | 2026-05-30 | 2026-06-30
1 | AnnualAudiometric/Hearing Conservation Testing |  |  | Exposure Monitoring | bar: 2026-06-30
2 | Monitoring Requirements : 40 CFR 141.854 Backflow Monitoring & Certification |  |  | Inspection
3 | SemiannualCDFTA Generation and Handling Fee |  |  | Permit
4 | AnnualCentral Plant Monitoring |  |  | Inspection
5 | AnnualChemistry Fume Hoods Inspection & Certification |  |  | Inspection
6 | AnnualCIWQS Annual Report |  |  | Regulatory Reporting
7 | AnnualClay Interceptors Inspection |  |  | Inspection
8 | Clay Pit/Art Department |  |  | Inspection
9 | Compressed Air Vessels Inspection (?) |  |  | Inspection
10 | AnnualCUPA Submittals (Inventory, HMBP, Facility Information, Aboveground Petroleum Storage Act) |  |  | Regulatory Reporting
11 | AnnualDTSC eVQ Verification Questionnaire & Manifest Fee Assessment |  |  | Regulatory Reporting
12 | AnnualElevator & Wheelchair Lift Inspection |  |  | Inspection
13 | MonthlyEmergency Eyewash & Shower Inspection |  |  | Inspection
14 | AnnualEmissions Report (AER)(& Fees?) |  |  | Regulatory Reporting
15 | SemiannualFat, Oils, and Grease (FOG) Interceptors Inspections |  |  | Inspection
16 | SemiannualFire Alarm & Emergency Lighting System Inspection |  |  | Inspection
17 | AnnualFirst Aid Kit Inspection |  |  | Inspection
18 | AnnualFixed Fire Sprinkler System Inspection |  |  | Inspection
19 | 6 Months/1 Year/N/AFormaldehyde/Phenol Monitoring |  |  | Exposure Monitoring | bar: 2025-09-30; 2026-02-28
20 | Annual Hazardous Materials Inventory |  |  | HazWaste
21 | After Emergency EventHazardous Materials Storage Secondary Containment Inspection |  |  | Inspection
22 | MonthlyHazardous Waste Manifest to DTSC |  |  | Regulatory Reporting
23 | WeeklyHazardous Waste Storage Areas Inspection |  |  | Inspection
24 | AnnualHeating Boilers Inspection |  |  | Inspection
25 | Annual/As NeededMedical Exposure Monitoring for Employees |  |  | Exposure Monitoring
26 | AnnualNFPA & CERS HazMat Business Plan Certification |  |  | Regulatory Reporting
27 | AnnualOSHA 300 Form Submission |  |  | Regulatory Reporting
28 | As NeededOSHA 5020 Form Submission |  |  | Regulatory Reporting
29 | MonthlyPortable Fire Extinguisher Inspection |  |  | Inspection
30 | AnnualRecycled Water Annual Report |  |  | Regulatory Reporting
31 | AnnualRecycled Water Site Inspection |  |  | Inspection
32 | AnnualRespirator Fit Testing (Ongoing) |  |  | Exposure Monitoring
33 | SemiannualRestaurant Fire Supression System Inspection |  |  | Inspection
34 | MonthlyRule 1411/1415 Refrigerant Recharge Quantity Data Collection |  |  | Regulatory Reporting
35 | WeeklyRule 1411/1415 Refrigerant Recharge Quantity Repair Log |  |  | Regulatory Reporting
36 | AnnualRule 1415 Air Conditioning System Audit |  |  | Regulatory Reporting
37 | SemiannualRule 1415 Air Conditioning System Inspection |  |  | Regulatory Reporting
38 | 2 yearsRule 1415 Plan Submission & Registration |  |  | Regulatory Reporting
39 | AnnualSCAQMD Permit Fees |  |  | Permit
40 | 3 yearsSewer System Audit |  |  | Inspection
41 | MonthlySpill Prevention Control & Countermeasure (SPCC) Inspection |  |  | Regulatory Reporting
42 | MonthlyStandby Generators Inspection |  |  | Inspection
43 | AnnualSWPPP Construction Annual Reports |  |  | Regulatory Reporting
44 | AnnualUniversal Waste Battery Bucket Changeout |  |  | Haz Waste
45 | SemiannualHazardous Waste, BioHazardous Waste, Sharps, and Pharmeceutical Waste Pickup and Removal |  |  | Haz Waste
46 | MonthlyVolatile Organic Compounds Recordkeeping Data Collection/Entry |  |  | Regulatory Reporting
47
48 | Annual/As NeededAerial Work Platform Safety Program |  |  | Safety Plan Review | bar: 2025-07-30
49 | As NeededAsbestos Operations & Maintenance Program |  |  | Safety Plan Review
50 | Annual/As NeededChemical Hygiene Program |  |  | Safety Plan Review | bar: 2025-08-30 to 2025-09-30
51 | Communicable Disease Safety Plan |  |  | Safety Plan Review | bar: 2025-09-30
52 | Confined Space Entry Program |  |  | Safety Plan Review
53 | AnnualExposure Control Program for Bloodborne Pathogens |  |  | Safety Plan Review | bar: 2025-10-30
54 | As NeededFall Protection Safety Program |  |  | Safety Plan Review | bar: 2025-11-30
55 | As NeededFire Prevention Program |  |  | Safety Plan Review
56 | Annual/As NeededForklift/Powered Industrial Truck Safety Program |  |  | Safety Plan Review | bar: 2025-12-30
57 | Formaldehyde & Phenol Program |  |  | Safety Plan Review | bar: 2025-12-30
58 | Formaldehyde, Phenol & Glutaraldehyde Program |  |  | Safety Plan Review | bar: 2025-12-30
59 | Annual/As NeededHazardous Communication Program |  |  | Safety Plan Review | bar: 2026-01-30 to 2026-02-28
60 | AnnualHazardous Materials (CUPA) Business Plan |  |  | Safety Plan Review | bar: 2026-02-28
61 | Annual/As NeededHazardous Waste Management Program |  |  | Safety Plan Review | bar: 2026-03-30
62 | As NeededHearing Conservation Program |  |  | Safety Plan Review
63 | Annual/As NeededHeat Illness Prevention Program |  |  | Safety Plan Review | bar: 2026-04-30
64 | As NeededInjury & Illness Prevention Program |  |  | Safety Plan Review | bar: 2026-05-30
65 | AnnualLock-Out/Tag-Out Program (Control of Hazardous Energy) |  |  | Safety Plan Review | bar: 2026-05-30
66 | As NeededMedical Waste Management Plan |  |  | Safety Plan Review | bar: 2026-06-30
67 | As NeededRespiratory Protection Program |  |  | Safety Plan Review | bar: 2025-07-30; 2026-05-30 to 2026-06-30
68 | 2 yearsRule 1415 Plan - Campus Refrigerant Emissions |  |  | Safety Plan Review
69 | 6 yearsSewer Management Plan |  |  | Safety Plan Review
70 | As NeededSpill Prevention Control & Countermeasure (SPCC) Plan |  |  | Safety Plan Review
71 | Storm Water Pollution Prevention Plan |  |  | Safety Plan Review
72 | As NeededUtility Cart Safety Program |  |  | Safety Plan Review
73 | AnnualWorkplace Violence Prevention Plan |  |  | Safety Plan Review | bar: 2025-08-30
74
75
76 | AnnualGreat ShakeOut |  |  | Emergency Prep | bar: 2025-10-30
77 | AnnualFire Drill |  |  | Emergency Prep | bar: 2025-10-30; 2026-04-30
78 | AnnualActive Shooter Drill |  |  | Emergency Prep | bar: 2025-09-30
79 | AnnualEmergency Operations Plan |  |  | Emergency Prep | bar: 2025-07-30
80 | Emergency Water Supply |  |  | Emergency Prep
81 | Emergency Food Supply |  |  | Emergency Prep
82 | Emergency Blankets |  |  | Emergency Prep
83
84 | Aerial Work Platform Training |  |  | Training
85 | Forklift/Powered Industrial Truck Training |  |  | Training
86 | Utility Cart Training |  |  | Training
87 | First Aid & CPR |  |  | Training
88 | HAZWOPER Training |  |  | Training
89 | AnnualSPCC Training |  |  | Training | bar: 2025-07-30
90 | Narcan |  |  | Training
91 | Stop the Bleed/Tourniquet |  |  | Training | bar: 2025-10-30
92 | HazWaste Manifest Signer |  |  | Training
93 | CERT |  |  | Training | bar: 2025-10-30
94
Pool Permit
Food Prep - DPH inspections
CUPA Inspections - Autoclave Calibration
CUPA BioHazardous Waste & Compliance Inspections
SCAQMD - CAT LRC Generator Run Logs
Fuel Tank & Fuel Station Inspections
Hazwaste Storage area at PAD
Daily pool PH and
DPH Pool Inspection
On-Site Biohazardous Waste Treatment Permit
Pharm Waste Inspection at EMS
Sharps Containers
Boilers - Flue Gas Analysis (every 5 years) SCAQMD
Pesticide applicator license renewals
DPH Bookstore Food Sales Permit
Food Services Permit (Duck and Owl)
Miscellaneous Waste Removal (CF light bulbs, batteries, etc.)