## Roof
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  |  |  | San Bernardino
College Campus |  |  |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Roof Repair of Replacement (2010-2011 through 2014-2015)
(CCI 4019)
Fiscal Year | Type/Use | Age | Age | Square Feet | Estimated Repair/ | State or
of Funding1 | of Building | of Building | of Roof | of Roof | Replacement Cost | Local Funds
(1) | (2) | (3) | (4) | (5) | (6) | (7)
2010-2011 | LADM Labs (Repair) | 32 | 26 | 9500 | 12350 | STATE
| CHS (Repair) | 32 | 26 | 11257 | 14634.1 | STATE
| CDC Classroom Bldg (instruction only) (Repair) | 14 | 14 | 7615 | 9899.5 | STATE
| OE-1 (Repair) | 35 | 26 | 11062 | 14380.6 | STATE
2011-2012 | SSA (Restore) | 39 | 26 | 6000 | 39000 | STATE
| College Center (Restore) | 39 | 26 | 7800 | 50700 | STATE
| CLASS BLDG (Restore) | 39 | 26 | 3335 | 21677.5 | STATE
| SSB (Repair) | 10 | 10 | 2805 | 3646.5 | STATE
2012-2013 | PAC (Restore) | 32 | 26 | 8240 | 53560 | STATE
| Gym-Locker Room Sections (Restore) | 39 | 25 | 7200 | 46800 | STATE
2013-2014 | LADM (Restore) | 39 | 26 | 28550 | 185575 | STATE
2014-2015
TOTAL |  |  |  |  | 452223.2
1Report five fiscal years of needs and total for each fiscal year.
241/SM5Y (Rev. 8/30/02, jar)

## Utilities
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  |  |  | San Bernardino
College Campus |  |  |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Utility Repair of Replacement (2010-2011 through 2014-2015)
(CCI 4019)
Fiscal Year |  | Age | Type of Facility | Estimated Repair/ | State or
of Funding1 | Type of Utility | of Utility | Served | Replacement Cost | Local Funds
(1) | (2) | (3) | (4) | (5) | (6) | Priority | Estimate
2010-2011 | Modifications to main campus fire alarm panel to provide offsite monitoring & FA Annunciators Phase 1 | 39 | Campus wide | 30000 | state | 2 | 10 Bldgs @ 25000/Bldg = 250K
| Elevators Phase 1 - Emer. lowering devices and infrared door protection | 39 | LADM, SSA, PAC,Gym, Library | 224000 | State |  | Estimate based upon quote from Kone for Emergency Lowering for PAC
| Phase 2 - Replace High voltage underground cabling | 20 | Campus Wide | 220000 | State |  | Estimate based on removal of 11000 feet of cabling @$20/ft
| CHS & LADM Lab - Remove and Replace Charcoal in Oder Scrubbers | 32 | Labs | 35000 | state
| Replace Fire Hydrants | 39 | Campus wide | 32000 | state
2011-2012 | Elevators Phase 2 - Emer. lowering devices and infrared door protection, PAC Elevator Modernization | 39 | SSB, CHS, PAC | 250000 | State |  | Estimate based upon quote from Kone for Emergency Lowering & modernization for the PAC
| Replace OFC Switches w/ air switches | 39 | Campus Wide | 275000 | state
2012-2013 | Replace Bldg Electric Service panels Ph 2 | 39 | Campus Wide | 395000 | State
2013-2014 | Replace irrigation computer controls | 39 | Campus Wide | 363300 | state
| Replace FA Annunciators Phase 2 | 39 | Campus wide | 220000 | state
2014-2015 | Replace irrigation pumps and main | 39 | Campus Wide | 65000 | state
TOTAL |  |  |  | 2109300
1Report five fiscal years of needs and total for each fiscal year.
241/SM5Y (Rev. 8/30/02, jar)

## Mechanical
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  |  |  | San Bernardino
College Campus |  |  |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Mechanical Equipment Repair of Replacement (2010-2011 through 2014-2015)
(CCI 4019)
Fiscal Year |  |  | Type of Facility | Estimated Repair/ | State or
of Funding1 | Type/Use | Age | Served | Replacement Cost | Local Funds
(1) | (2) | (3) | (4) | (5) | (6)
2010-2011 | Repair fume hood ventilation | 39 | LADM,CHS | 35000 | state
2011-2012 | Replace Gym Chiller | 36 | GYM | 192000 | state
| Clean campus air duct systems | 39 | Campus wide | 238350 | state
2012-2013 | Air handler replacement Ph 1 | 39 | Campus wide | 375000 | state
2013-2014 | Air handler replacement Ph 2 | 39 | Campus wide | 350000 | state
2014-2015 | Air handler replacement Ph 3 | 39 | Campus wide | 300000 | state
TOTAL |  |  |  | 1490350
1Report five fiscal years of needs and total for each fiscal year.
241/SM5Y (Rev. 8/30/02, jar)

## Exterior
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  |  | San Bernardino
College Campus |  |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Exterior Refinishing and Repair (2010-2011 through 2014-2015)
(CCI 4019)
Fiscal Year |  | Years Since Prior | Estimated Repair/ | State or
of Funding1 | Type and Size of Facility | Refinishing | Replacement Cost | Local Funds
(1) | (2) | (3) | (4) | (5)
2010-2011 | SSB Seal Exterior Block Wall & LADM Labs Exterior Concrete Wall- 10000 SF | 9 | 30000 | STATE
2011-2012 | PAC & Student Ctr Exterior Door Replacement | 39 | 175000 | STATE
2012-2013
2013-2014
2014-2015
TOTAL |  |  | 205000
1Report five fiscal years of needs and total for each fiscal year.
241/SM5Y (Rev. 8/30/02, jar)

## Other
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  | San Bernardino
College Campus |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Other Critical Needs (2010-2011 through 2014-2015)
(CCI 4019)
Fiscal Year |  | Estimated Repair/ | State or
of Funding1 | Type and Description of Needs | Replacement Cost | Local Funds
(1) | (2) | (3) | (74)
2010-2011 | Replace exterior door hardware ph 1 | 220500 | STATE
| Resurface Tennis Courts | 60000 | State
| Replace PAC 2nd Floor Women's Restroom Flooring | 15000 | STATE
2011-2012 | Renovate restrooms ph 1 | 225750 | State
| Replace exterior signage | 149100 | State
| Replace exterior door hardware ph 2 | 210000 | STATE
| Replace sidewalks phase 1 | 112500 | State
2012-2013 | Repair steps | 239400 | State
| Replace sidewalks phase 2 | 112500 | State
2013-2014 | Replace Fuel Storage Tank | 152250 | state
2014-2015 | Renovate Restrooms - Phase 2 | 250000 | State
TOTAL |  | 1747000
1Report five fiscal years of needs and total for each fiscal year.
241/DRDM (Rev. 8/30/02, jar)

## SUMMARY
District | SAN BERNARDINO COMMUNITY COLLEGE DISTRICT
College ________________________________ | CRAFTON HILLS COLLEGE
2010-2011 |  | 2013-2014
Roof | 51264.2 | Roof | 185575
Utility | 541000 | Utility | 583300
Mechanical | 35000 | Mechanical | 350000
Exterior | 30000 | Exterior | 0
Other | 295500 | Other | 152250
2011-2012 |  | 2014-2015
Roof | 115024 | Roof | 0
Utility | 525000 | Utility | 65000
Mechanical | 430350 | Mechanical | 300000
Exterior | 175000 | Exterior | 0
Other | 697350 | Other | 250000
2012-2013
Roof | 100360
Utility | 395000
Mechanical | 375000
Exterior | 0
Other | 351900