## Roof
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  |  |  | San Bernardino
College Campus |  |  |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Roof Repair of Replacement (2012-2013 through 2016-2017)
(CCI 4019)
Fiscal Year | Type/Use | Age | Age | Square Feet | Estimated Repair/ | State or
of Funding1 | of Building | of Building | of Roof | of Roof | Replacement Cost | Local Funds
(1) | (2) | (3) | (4) | (5) | (6) | (7)
2012-2013 | SSA (Restore) | 40 | 27 | 6000 | 39000 | STATE
| College Center (Restore) | 40 | 27 | 7800 | 50700 | STATE
| CLASS BLDG (Restore) | 40 | 27 | 3335 | 21677.5 | STATE
| OE-1 (Repair) | 36 | 27 | 11062 | 14380.6 | STATE
| PAC - Theater Roof Deck/Patio Replacement | 40 | 10 | 6000 | 60000 | STATE
2013-2014 | LADM (Restore) | 40 | 27 | 28550 | 185575 | STATE
| PAC (Restore) | 33 | 27 | 8240 | 53560 | STATE
2014-2015 | SSB (Repair) | 11 | 11 | 2805 | 3646.5 | STATE
2015-2016 | CHS (restore) | 34 | 20 | 8000 | 52000 | State
2016-2017
TOTAL |  |  |  |  | 480539.6
1Report five fiscal years of needs and total for each fiscal year.
241/SM5Y (Rev. 8/30/02, jar)

## Utilities
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  |  |  | San Bernardino
College Campus |  |  |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Utility Repair of Replacement (2012-2013 through 2016-2017)
(CCI 4019)
Fiscal Year |  | Age | Type of Facility | Estimated Repair/ | State or
of Funding1 | Type of Utility | of Utility | Served | Replacement Cost | Local Funds
(1) | (2) | (3) | (4) | (5) | (6) | Priority | Estimate
2012-2013 | Replace ballasts in light fixtures campus-wide | 6 | Campus Wide | 150000 | State
| Elevators - Emer. lowering devices and infrared door protection | 40 | LADM, SSA, PAC,Gym | 474000 | State |  | Estimate based upon quote from Kone for Emergency Lowering for PAC
| Phase 2 - Replace High voltage underground cabling (CKT A) | 21 | Campus Wide | 220000 | State |  | Estimate based on removal of 11000 feet of cabling @$20/ft
| Replace Old Fire Hydrants | 40 | Campus wide | 52000 | State
| Upgrade fire alarm control systems | 40 | Campus Wide | 510000 | State
2013-2014 | Replace OFC Switches w/ air switches | 40 | Campus Wide | 275000 | state
| Replace Bldg Electric Service panels Ph 2 | 40 | Campus Wide | 395000 | State
2014-2015 | Replace irrigation computer controls | 40 | Campus Wide | 363300 | state
2015-2016 | Replace irrigation pumps and main | 40 | Campus Wide | 65000 | state
2016-2017
TOTAL |  |  |  | 2504300
1Report five fiscal years of needs and total for each fiscal year.
241/SM5Y (Rev. 8/30/02, jar)

## Mechanical
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  |  |  | San Bernardino
College Campus |  |  |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Mechanical Equipment Repair of Replacement (2012-2013 through 2016-2017)
(CCI 4019)
Fiscal Year |  |  | Type of Facility | Estimated Repair/ | State or
of Funding1 | Type/Use | Age | Served | Replacement Cost | Local Funds
(1) | (2) | (3) | (4) | (5) | (6)
2012-2013 | Clean campus air duct systems | 39 | Campus wide | 238350 | state
2013-2014 | Replace Gym Chiller | 36 | GYM | 192000 | state
2014-2015 | Air handler replacement Ph 1 | 39 | Campus wide | 375000 | state
| Replace Cooling Towers - Phase 1 | 40 | SSA, LADM, Gym | 300000 | state
2015-2016 | Air handler replacement Ph 2 | 39 | Campus wide | 350000 | state
| Repair fume hood ventilation | 39 | LADM,CHS | 15000 | state
2016-2017 | Air handler replacement Ph 3 | 39 | Campus wide | 300000 | state
TOTAL |  |  |  | 1770350
1Report five fiscal years of needs and total for each fiscal year.
241/SM5Y (Rev. 8/30/02, jar)

## Exterior
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  |  | San Bernardino
College Campus |  |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Exterior Refinishing and Repair (2012-2013 through 2016-2017)
(CCI 4019)
Fiscal Year |  | Years Since Prior | Estimated Repair/ | State or
of Funding1 | Type and Size of Facility | Refinishing | Replacement Cost | Local Funds
(1) | (2) | (3) | (4) | (5)
2012-2013
2013-2014
2014-2015
2015-2016 | PAC & Student Ctr Exterior Door Replacement | 40 | 175000 | STATE
2016-2017
TOTAL |  |  | 175000
1Report five fiscal years of needs and total for each fiscal year.
241/SM5Y (Rev. 8/30/02, jar)

## Other
Submit by Mid-December
District Scheduled Maintenance 5 Year Plan
Crafton Hills College |  | San Bernardino
College Campus |  | Community College District
District Certification (Signature)
List of Critical Needs by Category
Other Critical Needs (2012-2013 through 2016-2017)
(CCI 4019)
Fiscal Year |  | Estimated Repair/ | State or
of Funding1 | Type and Description of Needs | Replacement Cost | Local Funds
(1) | (2) | (3) | (74)
2012-2013 | Rebuild ADA Ramps to Child Care Center Modular | 12000 | State
| Install Cal OSHA required fall restraint system on all campus roofs | 150000
| Replace exterior door hardware for lockdown capability | 400000 | STATE
| Replace PAC Theater Doors and Restroom Doors | 25000 | State
| Renovate restrooms ph 1 for ADA Compliance | 225750 | State
2013-2014 | Renovate Restrooms for ADA compliance - Phase 2 | 250000 | State
| Replace exterior door hardware ph 2 | 210000 | STATE
2014-2015 | Replace Fuel Storage Tank | 52000 | state
| Repair exterior precast stairs | 56000 | State
2015-2016
2016-2017
1Report five fiscal years of needs and total for each fiscal year. |  | 1380750
241/DRDM (Rev. 8/30/02, jar)
Note on D20: mstrong: 200 doors at $2000/door

## SUMMARY
District | SAN BERNARDINO COMMUNITY COLLEGE DISTRICT
College ________________________________ | CRAFTON HILLS COLLEGE
2011-2012 |  | 2014-2015
Roof | 185758.1 | Roof | 52000
Utility | 896000 | Utility | 65000
Mechanical | 238350 | Mechanical | 350000
Exterior | 0 | Exterior | 175000
Other | 587000 | Other | 0
2012-2013 |  | 2015-2016
Roof | 57206.5 | Roof | 0
Utility | 670000 | Utility | 0
Mechanical | 192000 | Mechanical | 300000
Exterior | 0 | Exterior | 0
Other | 460000 | Other | 0
2013-2014
Roof | 0
Utility | 363300
Mechanical | 375000
Exterior | 0
Other | 108000